SUPPLEMENT 12: EVIDENCE TABLE FOR MISCELLANEOUS POTENTIALLY IMPORTANT ANALYTES

| No | 1. Updated/new recommendation with its grade and quality of evidence(2) | 2. NACB 2011 recommendation and its grade(1) | 3. Why was it necessary to modify the recommendation? | 4. Key references supporting the new recommendation | 5. Study design | 6. Level of evidence(2) (high-moderate-low) | 7. Quality of evidence(2) (high-moderate-low-very low) | 8. Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IS THERE A ROLE FOR MEASUREMENT OF INSULIN AND C-PEPTIDE CONCENTRATIONS TO DISTINGUISH TYPE 1 FROM TYPE 2 DIABETES MELLITUS? |  |  |  |  |  |  |  |  |
| a | In most people with diabetes or risk for diabetes or cardiovascular disease, routine testing for insulin or proinsulin is not recommended. These assays are useful primarily for research purposes. B (moderate) | There is no role for routine testing for insulin, C-peptide or proinsulin in most patients with diabetes. Differentiation between type 1 and type 2 diabetes may be made in most cases on the basis of the clinical presentation and the subsequent course. B (moderate) | Review of wording | Despres J-P et al. Hyperinsulinemia as an independent risk factor for ischemic heart disease. N Engl J Med 1996;334:952-7. | Case-control study | Moderate | Moderate | Case-control study looking at baseline fasting insulin levels in Quebec Heart Study. High fasting insulin levels appeared to be an independent risk factor for IHD. However, only excluded clinically diagnosed DM (in early 1990s, probably many undiagnosed) and did not adjust for any measures of glycemia or BMI |
|  |  |  |  | Wilson PW et al. Prediction of incident diabetes mellitus in middle-aged adults: The Framingham Offspring Study. Arch Intern Med 2007;167:1068-74. | Cohort study | Moderate |  | Models of predictive baseline values in a large population. Factors easily obtainable on history, exam, or standard lab tests (glucose, lipids) predicted incident DM strongly. Addition of more complex factors, including fasting insulin, did not add significantly. |
|  |  |  |  | Rutter MK, et al. Use of Alternative thresholds defining insulin resistance to predict incident type 2 diabetes and cardiovascular disease. Circulation. 2008;117:1003-1009. | Cohort study | Moderate |  | Models of predictive baseline measures of insulin resistance (which include measures of insulin) in a large population. Surrogate IR measures (which all included measures of insulin) had modest performance at the 76th centile, with no threshold effects. Prediction was particularly poor for CVD. |
|  |  |  |  | American College of Obstetricians and Gynecologists' Committee on Practice Bulletins—Gynecology. ACOG Practice Bulletin No. 194: Polycystic Ovary Syndrome. Obstet Gynecol. 2018;131(6):e157-e171 | Clinical Practice Guideline | Low |  | Updated ACOG guideline since 2011; recommends against routine measurement of insulin in PCOS. |

| No | 1. Updated/new recommendation with its grade and quality of evidence(2) | 2. NACB 2011 recommendation and its grade(1) | 3. Why was it necessary to modify the recommendation? | 4. Key references supporting the new recommendation | 5. Study design | 6. Level of evidence(2) (high-moderate-low) | 7. Quality of evidence(2) (high-moderate-low-very low) | 8. Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| b | Although differentiation between type 1 and type 2 diabetes can usually be made based on the clinical presentation and subsequent course, C-peptide measurements may help distinguish type 1 from type 2 diabetes in ambiguous cases, such as individuals who have a type 2 phenotype but present in ketoacidosis. B (moderate) | These assays are useful primarily for research purposes. Occasionally, C-peptide measurements may help distinguish type 1 from type 2 diabetes in ambiguous cases, such as patients who have a type 2 phenotype but present in ketoacidosis. B (moderate) | There is some evidence for use of C-peptide to diagnose insulin-deficient or type 1 diabetes. | Balasubramanyam A et al. Accuracy and predictive value of classification schemes for ketosis-prone diabetes. Diab Care 2006; 29:2575-9. | Observational prognostic/ diagnostic study | Moderate | Moderate | Investigation of patients presenting with ketosis, with absent or preserved C-peptide function at one year the outcome. Unclear how direct the outcome is, whether this is better than current care |
|  |  |  |  | Leighton E. A Practical Review of C-Peptide Testing in Diabetes. Diabetes Ther 2017;8:475-487 | Review | Moderate |  | Several studies suggest that low fasting or glucagon-stimulated C-peptide concentrations are associated with type 1 diabetes and have prognostic value for greater risk of microvascular complications. Low concentrations are also a criterion for Medicare (federal insurance for those over age 65 years in the US) to cover insulin pump therapy. |
| c | If required by the payer for coverage of insulin pump therapy, measure fasting c-peptide level when simultaneous fasting plasma glucose is <12.5 mmol/L (< 220 mg/dL). GPP | There is no role for routine testing for insulin, C-peptide or proinsulin in most patients with diabetes. Differentiation between type 1 and type 2 diabetes may be made in most cases on the basis of the clinical presentation and the subsequent course. B (moderate) | Low fasting C-peptide is used as a criterion for coverage of insulin pump therapy by U.S. Medicare and some other payers. | Infusion Pumps: C-Peptide Levels as a Criterion for Use ¦ Guidance Portal [Internet]. Centers for Medicare & Medicaid Services; 2005 [cited 2022 Mar 7]. Available from: https://www.hhs.gov/guidance/document/infusion-pumps-c-peptide-levels-criterion-use | Regulatory document | Low | Low | Fasting C-peptide measurement, and documentation that the concentration is below a certain threshold, is a requirement for coverage of insulin pump therapy for anyone age 65 and older (Medicare) and some state Medicaid programs (low-income individuals). |

| No | 1. Updated/new recommendation with its grade and quality of evidence(2) | 2. NACB 2011 recommendation and its grade(1) | 3. Why was it necessary to modify the recommendation? | 4. Key references supporting the new recommendation | 5. Study design | 6. Level of evidence(2) (high-moderate-low) | 7. Quality of evidence(2) (high-moderate-low-very low) | 8. Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DO INSULIN MEASUREMENTS NEED TO BE HARMONIZED? |  |  |  |  |  |  |  |  |
| d | Insulin and C-peptide assays should be standardized to facilitate measures of insulin secretion and sensitivity that will be comparable across research studies. GPP | Because current measures of insulin are poorly harmonized, a standardized insulin assay should be developed to encourage the development of measures of insulin sensitivity that will be practical for clinical care. GPP | Modified to be consistent with 12a. Insulin, even if standardized, is unlikely to be helpful in clinical care, so the recommendation is restricted to the research setting. Added c-peptide, as similar issues and efforts apply to that assay. | Marcovina S, et al. Standardization of insulin immunoassays: report of the American Diabetes Association Workgroup. Clin Chem 2007; 53:711-6 | Comparison of different insulin assays | Moderate | Low | Current FDA-approved commercially available insulin assays provide a wide range of values for the same samples. There clearly is a need to standardize the reference system and protocols to enable all assays to achieve consistent and uniform results and to report insulin in identical units. |
|  |  |  |  | Miller WG, et al for the Insulin Standardization Work Group. Toward standardization of insulin immunoassays. Clin Chem 2009;55:1011-8 | Investigation of alternate preparation for insulin reference materials | Moderate |  | Most assays can achieve consistent performance with calibration traceability based on individual serum samples with insulin concentrations set by isotope dilution mass spectrometry. |
|  |  |  |  | Staten M, et al, for the Insulin Standardization Workgroup. Insulin assay standardization: leading to measures of insulin sensitivity and secretion for practical clinical care. Diab Care 2010;33:205-6 | Expert consensus | Low |  | Commentary calling for a standardized insulin assay. |
|  |  |  |  | Little RR, Wielgosz RI, Josephs R, et al. Implementing a Reference Measurement System for C-Peptide: Successes and Lessons Learned. Clin Chem. 2017;63(9):1447-1456. | Review of studies | Moderate |  | Review of studies showing lack of standardization of the C-peptide assay and multiple organizations’ efforts to develop a reference standard. |

| No | 1. Updated/new recommendation with its grade and quality of evidence(2) | 2. NACB 2011 recommendation and its grade(1) | 3. Why was it necessary to modify the recommendation? | 4. Key references supporting the new recommendation | 5. Study design | 6. Level of evidence(2) (high-moderate-low) | 7. Quality of evidence(2) (high-moderate-low-very low) | 8. Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IS THERE A ROLE FOR INSULIN ANTIBODY TESTING IN MANAGING PATIENTS WITH DIABETES MELLITUS? |  |  |  |  |  |  |  |  |
| e | There is no published evidence to support the use of insulin antibody testing for routine care of people with diabetes. C (very low) | There is no published evidence to support the use of insulin autoantibody testing for routine care of patients with diabetes. C (very low) | No change | Censi S, Mian C, Betterle C. Insulin autoimmune syndrome: from diagnosis to clinical management. Ann Transl Med. 2018;6(17):335. | Review | Low | Very low | Rare cases of Insulin antibody syndrome in people without diabetes or in those treated with exogenous insulin (exogenous insulin antibody syndrome). Rare and syndrome not necessarily correlated with antibody titers. ABs are common in people treated with exogenous insulin |
|  |  |  |  | Hu X, Chen F. Exogenous insulin antibody syndrome (EIAS): a clinical syndrome associated with insulin antibodies induced by exogenous insulin in diabetic patients. Endocr Connect. 2018;7(1):R47-R55. | Review | Low |  |  |