SUPPLEMENT 7: EVIDENCE TABLE FOR KETONE TESTING

| No | 1. Updated/new recommendation with its grade and quality of evidence(2) | 2. NACB 2011 recommendation and its grade(1) | 3. Why was it necessary to modify the recommendation? | 4. Key references supporting the new recommendation | 5. Study design | 6. Level of evidence(2) (high-moderate-low) | 7. Quality of evidence(2) (high-moderate-low-very low) | 8. Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WHICH PATIENTS SHOULD BE ADVISED TO MEASURE URINE OR BLOOD KETONES AT HOME, AND UNDER WHAT CIRCUMSTANCES? |  |  |  |  |  |  |  |  |
| a | Individuals who are prone to ketosis (those with type 1 diabetes, history of diabetic ketoacidosis (DKA), or treated with SGLT-2 inhibitors) should measure ketones in urine or blood if they have unexplained hyperglycemia or symptoms of ketosis (abdominal pain, nausea), and implement sick day rules and/or seek medical advice if urine or blood ketones are increased. B (moderate) | Ketones measured in urine or blood by patients with diabetes in the home setting and in the clinic/hospital setting should only be considered as an adjunct to the diagnosis of diabetic ketoacidosis GPP | Modified to make recommendation more patient-facing. | Schwab TM et al. Screening for ketonemia in patients with diabetes. Ann Emerg Med 1999;34:342-6 | Cross-sectional diagnostic accuracy study | Moderate | Moderate | Positive urine ketones had high sensitivity for DKA and high negative predictive value to rule out DKA. |
|  |  |  |  | Brooke J, Stiell M, Ojo O. Evaluation of the Accuracy of Capillary Hydroxybutyrate Measurement Compared with Other Measurements in the Diagnosis of Diabetic Ketoacidosis: A Systematic Review. Int J Environ Res Public Health. 2016;13(9):E837. | Systematic review of observation studies | Moderate |  | Capillary β-OHB was found to have high sensitivity, specificity, positive predictive value and negative predictive value in identifying DKA compared to urinary ketone testing. |
|  |  |  |  | Laffel, L.M.B., et al, Sick day management using blood 3‐hydroxybutyrate (3‐OHB) compared with urine ketone monitoring reduces hospital visits in young people with T1DM: a randomized clinical trial. Diabetic Medicine, 2006;23: 278-284. | RCT | Moderate |  | Children, adolescents, and young adults randomized to urine ketone strips or meter that measured β-OHB, and all advised to check ketones with illness or hyper-glycemia. Those randomized to blood ketones were signi-ficantly more likely to mea-sure ketones when sick, and had fewer hospitalizations |
|  |  |  |  | American Diabetes Association. Standards of Medical Care in Diabetes--2022. Diabetes Care. 2022 Jan;45(Supplement 1):S1-S2. | Guideline expert opinion | Low |  | ADA guideline advises that these groups should perform urine or blood ketone measurements when ill. |
|  |  |  |  | Danne T, Garg S, Peters AL, Buse JB, et al. International Consensus on Risk Management of Diabetic Ketoacidosis in Patients With Type 1 Diabetes Treated With Sodium-Glucose Cotransporter (SGLT) Inhibitors. Diabetes Care. 2019;42(6):1147–54. | Guideline Expert opinion | Low |  | Consensus guidelines on how to reduce risk of DKA associated with use of SGLT inhibitors |

| No | 1. Updated/new recommendation with its grade and quality of evidence(2) | 2. NACB 2011 recommendation and its grade(1) | 3. Why was it necessary to modify the recommendation? | 4. Key references supporting the new recommendation | 5. Study design | 6. Level of evidence(2) (high-moderate-low) | 7. Quality of evidence(2) (high-moderate-low-very low) | 8. Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ARE DIRECT MEASUREMENTS OF HBA PREFERABLE TO NITROPRUSSIDE MEASUREMENTS OF KETONES? |  |  |  |  |  |  |  |  |
| b | Specific measurement of -hydroxybutyrate (OHB) in blood should be used for diagnosis of DKA and may be used for monitoring during treatment of DKA. B (moderate) | Blood ketone determinations that rely on the nitroprusside reaction should be used only as an adjunct to diagnose DKA and should not be used to monitor treatment of DKA. Specific measurement of HBA in blood can be used for diagnosis and monitoring of DKA. B (moderate) | Reworded and separated into two recommendations | Dhatariya KK, Glaser NS, Codner E, Umpierrez GE. Diabetic ketoacidosis. Nat Rev Dis Primers. 2020;6(1):40. | Review | Low | Moderate |  |
|  |  |  |  | Kilpatrick ES, Butler AE, Ostlundh L, Atkin SL, Sacks DB. Controversies Around the Measurement of Blood Ketones to Diagnose and Manage Diabetic Ketoacidosis. Diabetes Care. 2022;45(2):267–72. | Review | Low |  |  |
|  |  |  |  | Brooke J, Stiell M, Ojo O. Evaluation of the Accuracy of Capillary Hydroxybutyrate Measurement Compared with Other Measurements in the Diagnosis of Diabetic Ketoacidosis: A Systematic Review. Int J Environ Res Public Health. 2016;13(9):837. | Systematic review | Moderate |  | Compared to urine ketones, capillary βOHB had equal sensitivity, higher specificity, higher PPV for DKA. Studies heterogeneous with different cut-points for positive tests |
|  |  |  |  | Noyes KJ, et al. Hydroxybutyrate near-patient testing [NPT] to evaluate a new end-point for intravenous insulin therapy in the treatment of diabetic ketoacidosis in children. Pediatr Diabetes 2007;8:150-156 | Observational cohort study | Low-Moderate |  | Two possible end-points for IV insulin for DKA were compared: A/ pH > 7.3 followed by two successive NPT βOHB measurements <1 mmol/L, and B/ pH > 7.3 and urine ketone free. End-point A was reached on average 11 hours sooner. However, end-point B was highly conservative, and unclear significance of the findings |
|  |  |  |  | Tran TTT et al. Review of evidence for adult DKA management protocols. Front Endocrinol 2017;8:106 | Systematic review of multiple aspects of DKA protocols | Low-Moderate |  | For monitoring DKA, some guidelines recommend point of care βOHB testing, while others make no mention of following change in ketones or βOHB at all. Furthermore, the outcome of time to resolution of DKA has not been validated as meaningful. |

| No | 1. Updated/new recommendation with its grade and quality of evidence(2) | 2. NACB 2011 recommendation and its grade(1) | 3. Why was it necessary to modify the recommendation? | 4. Key references supporting the new recommendation | 5. Study design | 6. Level of evidence(2) (high-moderate-low) | 7. Quality of evidence(2) (high-moderate-low-very low) | 8. Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Benoit SR, Hora I, Pasquel FJ, Gregg EW, Albright AL, Imperatore G. Trends in Emergency Department Visits and Inpatient Admissions for Hyperglycemic Crises in Adults With Diabetes in the U.S., 2006-2015. Diabetes Care. 2020;43(5):1057–64. | Cross-sectional study | Low |  | Study of U.S. national population-based rates and trends for adult diabetic ketoacidosis and hyperglycemic hyperosmolar state in emergency department and inpatient settings. |
|  |  |  |  | Yu HE, Agus M, Kellogg MD. Clinical utility of Abbott Precision Xceed Pro® ketone meter in diabetic patients. Pediatric Diabetes 2011;12: 649–655. | Device evaluation | Low |  | βOHB measurements by the Abbott meter up to 5 mmol/L correlate well with the reference method, but become discrepant above that point. While this characteristic may be useful in the diagnosis of DKA, it may not allow clinicians to serially follow the response to therapy in hospitalized DKA patients with βOHB values greater than 5 mmol/L (reference method). |
| c | Blood ketone determinations that rely on the nitroprusside reaction should not be used to monitor treatment of DKA. B (low) | Blood ketone determinations that rely on the nitroprusside reaction should be used only as an adjunct to diagnose DKA and should not be used to monitor treatment of DKA. Specific measurement of HBA in blood can be used for diagnosis and monitoring of DKA. B (moderate) | Split old recommendation into two and refine recommendation for clarity | Goldstein DE, Little RR, Lorenz RA, Malone JI, Nathan D, Peterson CM, Sacks DB. Tests of glycemia in diabetes. Diabetes Care. 2004;27(7):1761-73. | Review and guideline | Low | Low | Recommendations based on theoretical/analytical issues with nitroprusside not measuring βOHB. There is no firm clinical evidence, but strong consensus for many years for not using nitroprusside-based reactions for detecting βOHB. |
|  |  |  |  | Sacks DB. Diabetes Mellitus. In: Tietz Textbook of Laboratory Medicine. 7th ed. St Louis: Elsevier. 2023;p502-43 | Textbook review | Low |  |  |